## PDCL
STATE LOAD DESPATCH CENTRE
WEST BENGAL STATE ELECTRICITY TRANSMISSION COMPANY LIMITED
(A Govt of W.B. Enterprise)
Plant Load Factor(PLF) of the generating station
Financial Year : 2023-24
WBPDCL POWER STATIONS
2023-11-01
LOW DEMAND SEASON
Item | BTPS-I |  | BTPS-II |  | STPS |  | KTPS |  | BKTPP |  | SgTPP-I |  | SgTPP-II |  | DPL-I |  | DPL-II
| SG PEAK | SG OFF PEAK | SG PEAK | SG OFF PEAK | SG PEAK | SG OFF PEAK | SG PEAK | SG OFF PEAK | SG PEAK | SG OFF PEAK | SG PEAK | SG OFF PEAK | SG PEAK | SG OFF PEAK | SG PEAK | SG OFF PEAK | SG PEAK | SG OFF PEAK
No. of blocks during the period | 480 | 2400 | 480 | 2400 | 480 | 2400 | 480 | 2400 | 480 | 2400 | 480 | 2400 | 480 | 2400 | 480 | 2400 | 480 | 2400
Installed Capacity (IC) (MW) | 60 | 60 | 215 | 215 | 500 | 500 | 840 | 840 | 1050 | 1050 | 600 | 600 | 1000 | 1000 | 300 | 300 | 250 | 250
Normative Auxiliary Consumption in percentage (AUX): | 10.4 | 10.4 | 9 | 9 | 9 | 9 | 9.6 | 9.6 | 9 | 9 | 9 | 9 | 9 | 9 | 8.5 | 8.5 | 9 | 9
Scheduled Generation in MU (Summation of No. of blocks during the period) | 4.8839 | 18.3104 | 22.628 | 109.844 | 56.1555 | 261.2436 | 82.1258 | 370.1719 | 116.145 | 572.4383 | 61.6693 | 293.2603 | 95.1414 | 433.6417 | 4.4973 | 20.9031 | 18.8645 | 94.638
Plant Load Factor(PLF): | 75.7048 | 56.7658 | 96.3797 | 93.5719 | 102.8489 | 95.6936 | 90.1261 | 81.2465 | 101.2951 | 99.8497 | 94.1229 | 89.5178 | 87.1258 | 79.4216 | 13.6531 | 12.6916 | 69.1007 | 69.3318
Divisional Engineer
DATE: | [15 empty] | SLDC,WBSETCL